Background

The Wastewater upgrade is part of a planned capacity upgrade to the existing wastewater network. This will ensure the system operates safely and reliably, while also providing additional capacity for the township into the future.

When is the work commencing and how long will it take to complete?

Preliminary work such as crew and equipment mobilisation, service locations and surveying is due to begin on 3 September 2018.

The wastewater upgrade work is scheduled to take approximately 12 weeks to complete.

What wastewater infrastructure is being installed?

Two in-ground 20,000L emergency storage tanks will be installed adjacent to the wastewater pump station at the corner of Hunt Road and Kangarilla Road. This installation will include interconnecting pipework within Hunt Road.

The tanks will provide emergency storage of wastewater during power outages and/or equipment failure and complies with . The emergency storage capacity must comply with minimum requirements set by the Department of Health and Wellbeing.

A new 225mm diameter PVC drain will also be installed from the existing pump station at the corner of Hunt Road and Kangarilla Road east along Main Road with a total length of approximately 400m.

Will the road be closed?

No road closures will result in these road works. There will be partial road closures at times with stop/go scenarios to ensure traffic continues to move through the main street.

I would like more information?

If you still require further information, please contact us via one of the below methods:

* Phone: 08 8384 0666
* Email: [mail@onkaparinga.sa.gov.au](mailto:mail@onkaparinga.sa.gov.au)